IPMC INSPECTION CHECKLIST

BATHROOM

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 502.1 Required facilities dwelling units - Tub/shower, lavatory, water closet Sanitary, safe working condition, location |  |  |  |  |  |
| ## Tub/shower 504.1 Properly installed, no leaks or blockage 504.3 No hazards 505.3 Adequate water volume/pressure 505 Potable water, adequate hot/cold 506.1 Fixture connected to proper sanitary drainage 506.2 Stack, vent, waste and sewer functions properly and is free from leaks, obstructions and defects |  |  |  |  |  |
| Lavatory 504.1 Properly installed, no leaks or blockage 504.3 No hazards 505.3 Adequate water volume/pressure 505 Potable water, adequate hot/cold 506.1 Fixture connected to proper sanitary drainage ## 506.2 Stack, vent, waste and sewer functions properly and is free from leaks, obstructions and defects |  |  |  |  |  |
| Water closet 504.1 Properly installed, no leaks or blockage 504.3 No hazards 505.3 Adequate water volume/pressure 505 Potable water, adequate hot/cold 506.1 Fixture connected to proper sanitary drainage 506.2 Stack, vent, waste and sewer functions properly and is free from leaks, obstructions and defects |  |  |  |  |  |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 402.1 and 403.1 Light and Ventilation One window > or = 8% of floor area Openable area 45% or more (of 8% floor area) |  |  |  |  |  |
| 403.2 Bathroom and Toilet Room Ventilation Openable window or mechanical vent to outdoors |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| BATHROOM (CONT) |  |  |  |  |  |
|  | Yes | No | Condition/Type | Action | Quantity |
| # Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| # Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| # 602 Heating facilities Capable of maintaining 68°F |  |  |  |  |  |
| # 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| # 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Correct all hazards |  |  |  |  |  |
| # 605.2 Receptacle At least one receptacle present (new receptacles must be GFCI) |  |  |  |  |  |
| # 605.3 Lighting fixtures At least one is present |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

BEDROOM

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 404.1 Privacy 404.4.2 Access from bedrooms Access or egress not through bedroom 404.4.3 Water closet accessibility |  |  |  |  |  |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 404.4.1 Area for sleeping Occupancy – 1 person/70 SF More than 1 person /50 SF each Allowed occupancy (circle one) 1 person 2 people 3 people |  |  |  |  |  |
| 402.1 and 403.1 Light and Ventilation One window > or = 8% of floor area Openable area 45% or more (of 8% floor area) |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| 602 Heating facilities Capable of maintaining 68°F |  |  |  |  |  |
| 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| BEDROOM (CONT) |  |  |  |  |  |
|  | Yes | No | Condition/Type | Action | Quantity |
| 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical systems hazards Correct all hazards |  |  |  |  |  |
| # 704.2 Smoke alarms # One approved alarm is located in the sleeping room, and - Another alarm is located outside the room in the immediate vicinity - Alarms are located on each story within the unit including the basement |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

DINING ROOM

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 404.5 Overcrowding Required dining room – 80 SF - 3-5 occupants 150 SF - 6 or more occupants Is living room occupancy sufficient for total bedroom occupancy and dining room occupancy? (If no, unit is overcrowded and ineligible for assistance without resolution) |  |  |  |  |  |
| 402.1 and 403.1 Light and Ventilation One window > or = 8% of floor area Openable area 45% or more (of 8% floor area) |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| ## Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| # Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| # Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| # 602 Heating facilities Capable of maintaining 68°F |  |  |  |  |  |
| # 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| # 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

EXTERIOR PROPERTY AREAS

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| # 302.1 Sanitation Clean and free from rubbish and garbage |  |  |  |  |  |
| # 302.2 Grading and Drainage Erosion of soil, ponding/stagnant water, water within structure |  |  |  |  |  |
| # 302.3 Sidewalks and Driveways Proper repair, free from hazards (tripping, ice ponding) |  |  |  |  |  |
| # 302.4 Weeds Noxious weeds, growth height |  |  |  |  |  |
| # 302.5 Rodents Evidence of presence? Harborage? - Weeds - Rubbish - Garbage Inoperable cars |  |  |  |  |  |
| # 302.6 Exhaust vents Hazardous discharge/noise |  |  |  |  |  |
| # 302.7 Accessory structures Structurally sound/ good repair Structure type - Garage - Fence - Wall Other_______________ |  |  |  |  |  |
| # Motor vehicles - Inoperable - Unlicensed |  |  |  |  |  |
| # Defacement of property Location__________________ |  |  |  |  |  |
| # 303.1 Pools, Spas and Hot Tubs Clean, sanitary, in good repair |  |  |  |  |  |
| # 303.1 Enclosure # Depth of water > 24”? # Barrier height at least 48”? # Self latching gate? |  |  |  |  |  |
| 307.1 Accumulation of Rubbish/ Garbage Free of |  |  |  |  |  |
| # and 307.3 Disposal of # Rubbish/Garbage Approved containers 307.2.1 With covers 307.3.1 Garbage facilities Approved grinder, incinerator or leak proof covered container |  |  |  |  |  |
| # 507.1 Storm drainage No nuisance created |  |  |  |  |  |
| 604.1 Electrical facilities Required occupied dwelling unit is provided with three wire service of at least 60 amps in compliance with ICC Electrical Code |  |  |  |  |  |
| 604.3 Electrical systems hazards Correct all hazards |  |  |  |  |  |
| EXTERIOR PROPERTY AREAS (CONT) |  |  |  |  |  |
|  | Yes | No | Condition/Type | Action | Quantity |
| 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |

## IPMC INSPECTION CHECKLIST

## EXTERIOR STRUCTURE

|  | Yes | No | Condition | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| - General Good repair, structurally sound, sanitary |  |  |  |  |  |
| - Protective treatment (Paint) Is it pre 1978? If yes, order risk assessment |  |  |  |  |  |
| 304.3 Premises identification (address numbers) |  |  |  |  |  |
| - Structural members Free from deterioration and capable of support |  |  |  |  |  |
| - Foundation walls Plumb, free from cracks, no rodent entry |  |  |  |  |  |
| - Exterior walls Sound, weatherproof, coated Square feet ___________ |  |  |  |  |  |
| - Roofs and Flashing |  |  |  |  |  |
| 304.7 Roof drainage Gutters, downspouts, drains |  |  |  |  |  |
| - Decorative features - Overhand extensions Good repair, safe, anchored, coated |  |  |  |  |  |
| - Chimneys and Towers Safe, sound, good repair, coated |  |  |  |  |  |
| - Windows Sound, good repair, weather tight 303.13.1 Glazing free of cracks and holes 303.13.2 Openable and hold open hardware 304.14 Insect screens 304.18.2 Sash locking device within 6 feet of ground |  |  |  |  |  |
| - Doors Good condition, locks, security, egress (§702.3) 304.13 Door frames Sound, good repair, weather tight 304.18 Security 304.18.1 Egress |  |  |  |  |  |
| - Basement hatchways Prevents entrance of rodents, rain and drainage water 304.18.3 Security |  |  |  |  |  |
| - Stairways Structurally sound, good repair 304.12 Handrails and guardrails Firm, good condition 306.1 Handrails and guardrails With 4+risers |  |  |  |  |  |
| 304.10 Decks, Porches and Balconies Structurally sound, good repair 304.12 Handrails and guardrails Firm, good condition 306.1 Handrails and guardrails >30 inches in height |  |  |  |  |  |
| 304.17 Guards for basement windows Rodent shields |  |  |  |  |  |
| 506 Sanitary drainage All fixtures connected to approved disposal 506.2 Properly maintained |  |  |  |  |  |
| EXTERIOR STRUCTURE (CONT) |  |  |  |  |  |
|  | Yes | No | Condition/Type | Action | Quantity |
| 604.1 Electrical facilities Required occupied dwelling unit is provided with three wire service of at least 60 amps in compliance with ICC Electrical Code |  |  |  |  |  |
| - Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Correct all hazards |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

FURNACE/WATER HEATER ROOM

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Correct all hazards |  |  |  |  |  |
| 605.3 Lighting fixtures At least one present |  |  |  |  |  |
| 603.1 Mechanical appliances Properly installed, safe working condition, capable of performing as intended 603.2 Fuel burners connected to approved chimney or vent 603.3 Required clearance from combustibles is maintained 603.4 Safety controls in effective operation |  |  |  |  |  |
| 603.5 Combustion air Is supplied for combustion of fuel and ventilation of space containing fuel burning equipment |  |  |  |  |  |
| 603.6 Energy conservation devices Attached to fuel supply or vent and are labeled and properly approved |  |  |  |  |  |
| 607.1 Duct systems Free of obstructions and capable of performing required functions |  |  |  |  |  |
| 703.1 Fire resistance-rated assemblies Shall be maintained |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

HABITABLE ROOMS INTERIOR STRUCTURE

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 402.1 and 403.1 Light and Ventilation One window >8% of floor area Openable area 45% or more (of 8% floor area) |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| # Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| # Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| # Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| # 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| # 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

KITCHEN

|  | # Yes | # No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 404.2 Minimum width 3 ft. between counter fronts/appliances/walls |  |  |  |  |  |
| 404.7 Food preparation Suitable space and equipment to store, prepare and serve foods; sanitary disposal and temporary storage |  |  |  |  |  |
| 502.1 Required facilities dwelling units - Kitchen sink Sanitary, safe working condition 504.1 Properly installed, no leaks or blockage 504.3 No hazards 505.3 Adequate water volume/pressure 505 Potable water, adequate hot/cold 506.1 Fixture connected to proper sanitary drainage 506.2 Stack, vent, waste and sewer functions properly and is free from leaks, obstructions and defects |  |  |  |  |  |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 402.1 and 403.1 Light and Ventilation One window > or = 8% of floor area Openable area 45% or more (of 8% floor area) |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| KITCHEN (CONT) |  |  |  |  |  |
|  | Yes | No | Condition/Type | Action | Quantity |
| Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| ## 602 Heating facilities Capable of maintaining 68°F |  |  |  |  |  |
| 603.1 Cooking appliance (stove) Properly installed, safe and performs intended function 603.3 Clearance from combustible material 603.4 Safety controls in effective operation |  |  |  |  |  |
| 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.3 Lighting fixtures At least one is present |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

LAUNDRY ROOM

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| # Clothes Washer 603.1 Mechanical appliances Properly installed, safe working condition 504.1 Properly installed, no leaks or blockage 504.3 No hazards 505.3 Adequate water volume/pressure 505 Adequate hot/cold 506.1 Fixture connected to proper sanitary drainage 506.2 Stack, vent, waste and sewer functions properly and is free from leaks, obstructions and defects |  |  |  |  |  |
| # Laundry Sink 504.1 Properly installed, no leaks or blockage 504.3 No hazards 505.3 Adequate water volume/pressure 505 Adequate hot/cold 506.1 Fixture connected to proper sanitary drainage 506.2 Stack, vent, waste and sewer functions properly and is free from leaks, obstructions and defects |  |  |  |  |  |
| # Clothes dryer exhaust Independent and correctly exhausted 603.1 Mechanical appliances properly installed, safe working condition 603.2 If gas, removal of combustion products and 603.5 combustion air |  |  |  |  |  |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| # Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| LAUNDRY ROOM (CONT) |  |  |  |  |  |
|  | Yes | No | Condition/Type | Action | Quantity |
| # Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| # 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| # 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.2 Receptacle Contains at least one grounded receptacle or GFCI |  |  |  |  |  |
| 605.3 Lighting fixture At least one is present |  |  |  |  |  |

IPMC CHECKLIST – LIVING ROOM

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Floors (walking surfaces) Sound condition, good repair 404.2 Minimum room width 7 ft. (except kitchen) Floor area =_______________ |  |  |  |  |  |
| 404.5 Overcrowding Required living room – 120 SF - 3-5 occupants 150 SF - 6 or more occupants Is living room occupancy sufficient for total bedroom occupancy and dining room occupancy? (If no, unit is overcrowded and ineligible for assistance without resolution) |  |  |  |  |  |
| 402.1 and 403.1 Light and Ventilation One window > or = 8% of floor area Openable area 45% or more (of 8% floor area) |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| # Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| # Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| # Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| # Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| # 602 Heating facilities Capable of maintaining 68°F |  |  |  |  |  |
| # 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| # 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

INTERIOR STAIRWAY

|  | Yes | No | Condition/Type | Action | Quantity |
| --- | --- | --- | --- | --- | --- |
| 305.1 General Interior and equipment in good repair, structurally sound, sanitary |  |  |  |  |  |
| 305.2 Structural Members Structurally sound/capable |  |  |  |  |  |
| 305.4 Stairs and walking surfaces Sound condition, good repair |  |  |  |  |  |
| 305.5 Handrails and guardrails Firmly fastened 306.1 Capable of loads, good condition Required 4+ risers or 30+ inches |  |  |  |  |  |
| 402.2/3 Light Sufficient to permit safe utilization |  |  |  |  |  |
| 404.3 Minimum ceiling height Not less than 7 ft. (with exceptions) |  |  |  |  |  |
| 308.1 Infestation Free from insects and rodents |  |  |  |  |  |
| Doors 305.4 Good, clean, sanitary, no unsound paint 305.6 Interior door, well-fit, openable/closeable, securely attached |  |  |  |  |  |
| Windows 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or defective surface conditions |  |  |  |  |  |
| Walls 305.3 Interior surfaces maintained in good sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| Ceiling 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint, cracked or loose plaster or defective surface conditions |  |  |  |  |  |
| Woodwork 305.3 Interior surfaces maintained in good, sanitary condition, no deteriorated paint or decay in wood or other defective surface conditions |  |  |  |  |  |
| 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.1 Electrical equipment installation All equipment, wiring, appliances properly installed and safe 604.3 Electrical system hazards Correct all hazards |  |  |  |  |  |
| 605.3 Lighting fixtures At least one is present |  |  |  |  |  |

IPMC INSPECTION CHECKLIST

Other Locations (yet to be developed)

Basement

Crawlspace

Attic space