Inspection Checklist For Rental Properties

City Of West Lafayette, IN

Date:

Inspector Name:

Property address:

Type of Property:

Time In:	Time Out:

Electrical Panel:

Service amps adequate for usage

Properly grounded and in good condition

No open circuits in box

If fuses – proper sizes

Adequate clearance and easy access

All equipment installed and maintained to code

__________________________________

__________________________________

__________________________________

General Electrical:

Covers on switches & outlets

Splices to code in covered boxes

GFCIs where required & operable

Switches, outlets & fixtures operable

Minimum 2 spaced outlets in all rooms

Adequate light fixtures, with globes as needed

Buffer space around lights to combustibles

Safe, limited use of extension cords

Exterior lines secure & protected All installations maintained to code

__________________________________

__________________________________

__________________________________

Water Heater:

Gas shut-off valve

Proper pop-off valve & drop pipe

Vent secured & properly pitched

Operable, with no rust holes or leaks Adequate surrounding clearance

__________________________________

__________________________________

__________________________________

HVAC:

Gas shut-off valve and on/off switch

Vent secured & properly pitched

Filters are cleaned periodically

Operable, provides minimum 68 degrees

Adequate surrounding clearance

All equipment installed and maintained to code

__________________________________

__________________________________

__________________________________

Laundry:

Proper dryer vent to exterior with cover Gas shut-off valve, capped if unused

__________________________________

__________________________________

__________________________________

Sinks, Bathtubs & Showers:

Operable, with hot & cold water

Functioning drains with proper traps

No leaks or drips

Garbage disposal operable if present

__________________________________

__________________________________

__________________________________

Toilets:

Operating properly

No leaks or continuous running

__________________________________

__________________________________

__________________________________

General Plumbing:

Installed correctly with no leaks

Proper venting

Functioning drains with proper traps & covers

__________________________________

__________________________________

__________________________________

Stairways:

Handrails if 4 or more steps

Lighted correctly

Steps stable, unbroken & of adequate strength

________________________________________

Windows:

Proper locations & sizes for light & ventilation

Proper for egress and lockable

Snug fit, operable & not broken or cracked

Bathrooms need mechanical or window venting Screens are present & in good condition

_________________________________

__________________________________

__________________________________

Smoke Detectors:

Properly installed and operable Installed in correct locations

LR DR BD 1 BD 2 BD 3 BD 4 Other

__________________________________

__________________________________

__________________________________

Rooms

Walls, floors & ceilings intact & maintained

LR DR BD 1 BD 2 BD 3 BD 4 Other

No padlocks or interior key locks on doors

LR DR BD 1 BD 2 BD 3 BD 4 Other

Unobstructed egress within and out of home

LR DR BD 1 BD 2 BD 3 BD 4 Other

Adequate area & height & proper layout

LR DR BD 1 BD 2 BD 3 BD 4 Other

Fireplaces, wood stoves operable & maintained

LR DR BD 1 BD 2 BD 3 BD 4 Other

No rubbish or garbage accumulation

LR DR BD 1 BD 2 BD 3 BD 4 Other

Basement bedrooms/rooms have egress windows

LR DR BD 1 BD 2 BD 3 BD 4 Other

Bedrooms and bathrooms have privacy doors

BA1 BA2  BD1 BD2 BD3 BD4

Closet lights away from combustibles, up to code and operable

BD 1 BD 2 BD 3 BD 4 Other

Kitchen floors in good condition

__________________________________

__________________________________

__________________________________

__________________________________

__________________________________

__________________________________

Exterior Doors:

Proper for egress and lockable

Snug fit, operable & unbroken

_________________________________

__________________________________

__________________________________

Building Exterior:

Roof waterproof & maintained

Walls, foundations, chimney maintained

Porches solid & maintained

Guardrails on porches over 30” high Handrails if 4 or more steps

__________________________________

__________________________________

__________________________________

Yard:

Grass, shrubs, trees maintained to code

Accessory structures maintained to code

No illegal vehicles or illegal parking

No rubbish or garbage

Have garbage containers with covers

__________________________________

__________________________________

__________________________________

This is a checklist of common violations of the West Lafayette Housing-Property Maintenance Code (BOCA, 1978) as adopted by Ordinance 20-78 (Chapter 112, West Lafayette City Code). This checklist is not a comprehensive list of all code provisions and requirements applicable in the City of West Lafayette.