Property Inspection Checklist

Interior Property Checklist Living Room and/or Dining Room

__ Defective/missing smoke detector __ Insufficient electrical outlets __ Defective windows

__ Defective/damaged walls

__ Defective ceilings

__ Defective floors

__ Hazardous use of electrical extension cords __ Missing/damaged outlet covers

__ Defective windows/hardware __ Defective doors/hardware

Kitchen

__ Defective sink/faucet

__ Defective drains

__ Insufficient water pressure

__ Kitchen cabinetry defective

__ Defective floors

__ Defective ceiling

__ Defective/damaged walls

__ Insufficient electric outlets

__ Missing/ damaged outlet covers

__ Hazardous use of electrical extension cords __ Insects/vermin present

Bathroom

__ Defective toilet

__ Defective bathtub/shower

__ Inadequate ventilation

__ Defective drains

__ Missing/ damaged outlet covers

__ GFCI needed

__ Defective floor

__ Defective/damaged walls

__ Defective ceiling

__ Privacy door needed

Bedrooms

__ Defective/missing smoke detector(s)

__ Insufficient electrical outlets

__ Missing/ damaged outlet covers __ Defective windows

__ Defective/damaged walls

__ Defective ceilings

__ Defective floors

__ Hazardous use of electrical extension cords __ Area too small (min 70 sq ft)

Basement

__ Improper gas shut-off valve

__ Defective flue pipe

__ Flue not mortared to chimney properly __ Improper water heater connection __ Hot water tank discharge pipe needed __ Uninspected electrical service panel __ Improper wiring

__ Exposed wiring/boxes

__ Improper use of 30 amp fuses

__ Missing/ damaged outlet covers

__ Improper drains

__ Improper stairs and/or handrails

__ Smoke detectors absent

__ Illegal basement sleeping rooms

__ Foundation repairs needed

__ Broken basement windows

__ Unsanitary conditions present (sewage, garbage, junk)

__ Insects and/or vermin present

Attic

__ Insufficient handrails/guards

__ Defective steps

__ Absent smoke detector

__ Exposed wiring/boxes

__ Roof leaks

__ Unsanitary or Fire Hazard (accumulation of debris)

__ Broken windows

Zoning

__ Property not in compliance with zoning regulations __ Follow up required

Fire and Life Safety Issues

__ Means of Egress issues

__ Smoke detectors

| Exterior Property Checklist | Steps, Handrails/Guards |
| --- | --- |
| Chimneys |  |
| __ Mortar joints | __ Broken/missing steps |
| __ Missing brick(s) | __ Missing handrails/guardrails |
| Roofs | __ Poor condition/not firmly fastened |
|  | Windows & Doors / Frames and Trim |
| __ Damaged /in disrepair |  |
|  | __ Repair window frames |
| Gutters/Downspouts | __ Provide screens |
| __ Missing gutters and/or downspouts | __ Broken/cracked glass |
| __ Gutters /downspouts need repair | __ Deteriorated frame/sash |
|  | __ Missing glass |
| Exterior Walls /Trim | __ Doors and frames not maintained |
| __ Walls need repair | __ Missing/broken knobs |
| __ Broken or missing trim/corner boards | __ Inadequate locks |
| __ Deteriorated/rotten/missing siding | Exterior Yard Areas |
| __ Deteriorated/missing soffit and/or fascia boards |  |
| __ Loose and/or peeling paint | __ Accumulation of rubbish and garbage |
|  | __ Overgrown weeds or grass |
| Foundation Walls | __ Unregistered or junk vehicles |
| __ Mortar joints loose/deteriorating |  |
| __ Repairs needed |  |