Rental Property Inspection Checklist

Use this checklist to help inspect a rental property before signing a lease.

Security & Personal Safety

- Do all locks on the doors function properly?

- Do all the entry doors shut tightly? Do they include a heavy duty lock such as a deadbolt or chain?

- Do the windows all lock properly?

- Does the property have curtains or shades on all the windows?

- Is there outdoor lighting?

- Are there security cameras? This is particularly important for apartment complexes.

- How safe is the property’s surrounding neighborhood?

- Are there smoke detectors? Does each smoke detector work?

- Are there CO2 detectors? Does each detector work?

- Is there a fire extinguisher?

- Is there an emergency exit?

Electrical & Heating

- Do all light fixtures work?

- Do all electrical sockets work? Are they placed in a safe location?

- Does the property have enough electrical sockets?

- Does the heating/cooling equipment work?

- Do the windows have proper ventilation? Do they all have storm windows?

Property Necessities

- Does the property have appliances, e.g., stove, oven, refrigerator, microwave, dishwasher? Do all the appliances work?

- Does the kitchen sink work? Is there a good water pressure?

- Does the bathroom sink work? The shower? Does the toilet flush?

- Is there parking? How close is the nearest bus stop? Is there storage for a bike?

- Does the property offer storage, e.g., a basement, attic, closets? Are these areas clean?

- Is there any pre-existing damage (e.g., holes in the walls, rips in the carpet, damage to the windows) to the property?

- Who has keys to the property? Just the landlord?

- Is there a maintenance team? Is there an emergency maintenance team?

| Cleveland Clinic Student Housing | 1 |
| --- | --- |